## Cover Sheet
SPOT / NPEWS Specification V1.0
This document is the baseline specification for SPOT NPEWS systems. This has been created based on solutions previously procured by Trusts and feedback from clinicians and technical colleagues.
This cover sheet will outline some of the guiding principles for the use of this document by ICSs and Trusts.
Use of MOSCOW
We have used the MOSCOW rating system to assess the priority of each requirement. In an ideal situation a solution would meet or exceed every requirement but we recognise that this isn't practical and have used the rating method to reflect differing priorities. Different people may use the MOSCOW ratings in different ways so we have provided a definition of our usage to make things clearer for users of this document
Must - Any SPOT / NPEWS solution must meet all of these requirements. When undergoing a procurement exercise no solution should be selected that fails one or more Musts.
Should - Ideally a SPOT / NPEWS solution would have all the Shoulds as well as all the musts. There may be some shoulds that don't apply to certain solutions, or some suppliers may do the majority of the Shoulds but miss one or two. Missing a should is not a barrier to a successful procurement but would be a useful comparison to make between competing suppliers to pick the one best suited.
Could - A could is a nice to have, these are often future looking or ideal features that it is understood many or most suppliers won't deliver yet, but may have on roadmaps. A lack of coulds should not be a barrier to supplier selection, but where several suppliers are similar in their ability to meet Musts and Shoulds whether they meet Coulds is a useful measure for differentiation.
Won't - This is used to call out something we explicitely wont be doing. No solution should do this feature as to do so would be an error. We include some won'ts to avoid assumptions that might be made otherwise
Breakdown by clinical and technical requirements
Owing to the differing nature of and review process for we've broken apart the requirements into a clinical section (identified by IDs beginning with C) and a technical section (identified by IDs beginning with T). This has been done to help trusts assign the right areas to the right members of staff when they're assessing bids and to help suppliers with the focus of their responses. The designation of an item as either clinical or technical doesn't affect its importance, both sides have equal weighting. Due to the nature of the system there are some requirements that could sit in either side of the specification. For ease of use we have just selected one or the other to place them in, but you may as a result see a few requirements that straddle the two sides. The format used for assessment has been the same regardless of the requirements categorisation so either side should be readable in the same way.
Usage of this document by Integrated Care Systems (ICSs) and Trusts
The purpose of this document is to form a baseline for the SPOT / NPEWS solution for any ICS or trust who needs to procure a SPOT / NPEWS solution. This document is intended to be the national baseline, so as such it would be expected that any solution procured must meet all of the Must requirements that are included. Given that this is a national document it is understood that we will be unable to reflect any locally specific requirements. As such it is expected that the trust add these to the requirements list before going out to procurement. For example we can add generic statements about integration, but the Trust may want to add a list of systems that they have that the solution must integrate with. There may also be some of the Shoulds or Coulds that change locally, for instance we might have included a could that just isn't relevant in your local environment so you can take it out. Alternatively one of our Shoulds may be a Must in your local area, so you should feel free to upgrade it's status. This is a baseline so we are more than happy for Trusts to increase the classification of items and aim at a higher standard. In terms of downgrades, care must be given before downgrading a Must, as you may find that your system isn't compliant with national standards, however there may be limited situations where you need to replace a generic must with a more specific one reflecting local realities.
Requirements from this document are being shared with suppliers in the SPOT / NPEWS market for comment and review so using this baseline should assist your procurements as suppliers will already have sight of it. It is hoped that by including shoulds and coulds into this specification we can help to inform suppliers roadmaps to resolve those issues where they might be diverging from the expected standard.
Key definitions
The Solution
When we use the term "the solution" (typically in the format of "The solution must do X") we mean the full set of system or systems provided by the supplier. No judgement is made as to whether this needs to be one piece of software or several that are integrated. The integration is a key assumption that is made, it wouldn't be acceptable to have a solution that had bits of technology that didn't speak to each other so clinicians were required to double enter data. However as long as it's fully integrated any number of software/hardware items can be included as part of the solution. It can be worth reading this as meaning "As a whole the fully integrated solution Must do X", but we have left that wording out for the sake of space. In terms of any requirements that refer to compliance (e.g. GDPR) this refers to each and every component part of the solution. So for a supplier to confirm that their solution meets this requirement they are confirming that all the related software they'll be deploying meets that requirement.
MOSCOW within requirements
When writing a requirement the relevant MOSCOW term will be used throughout the requirement (e.g. The solution should do X and it should also do Y and it should output in the format of z). Even though the less mandatory terms of Should and Could are used in this way, if a supplier is answering that they meet the requirement they are saying that they meet all of it. If they are in a situation where they meet some of the requirement but not all of it they need to make this clear in their submission. This can then be taken into account by the trust when assessing suppliers. For shoulds and coulds it isn't an automatic barrier if a supplier is only partially compliant, but if they just say that they are compliant and don't outline the areas that they are deficient then this could become an issue with any contract signed based on the supplier appearing fully compliant with a requirement. It is also worth noting that sometimes the phrase "must allow" or equivalent is used. This means that the option must be there for the clinician to use, not that it is expected that they use it every time. A good example of this is the ability to skip the entry of an observation
Clinicians
Clinicians is our generally used term to refer to staff working with the SPOT / NPEWS system. For some requirements specific jobs are called out but otherwise clinicians is used as a generic term. Occasionally users is used as well, this means all users of the system both clinicians and others (e.g. technical administration staff). When clinicians is used it should not be taken to imply any particular job role, if the supplier needs clarification of which are or are not included locally they should seek this from the trust, as in some areas this will change depending on local needs.
ICS/Trust
The Integrated Care Systems (ICSs) and Trusts are used interchangeably through this document. Depending on the area purchasing of systems may be done at the ICS or at the Trust level and so both are used throughout. If the procurement is being done at ICS level requirements that refer to the Trust should be seen to refer to the ICS and visa versa.
Standards and datasets
When standards and datasets are listed it is assumed that the current version as of the date of procurement publication is to be used. Version numbers have not be used in this document to avoid creating an overhead in terms of updating them, but trusts are welcome to include them in their procurement documents. Any new datasets will be included as part of the regular updates to this document.
Patient
We've used patient to refer to the child or young person accessing medical services and having observations taken by clinicians
Carer
We've used carer to refer to the carer or parent responsible for the child or young person receiving medical care
Form
We've used Form generically to describe the interface used to input observation data on the PEWS system, in a similar way to the paper version being called a form. We understand that different supplier solutions may use different terms like interface, app or workflow, and in their systems "form" may mean something different. For our purposes we are using the term in it's generic plain English form and do not preclude different ways that suppliers may implement the described interface in their systems
Training Requirements
This specification refers to supplier led training (typically expected to be of the train the trainer format) to be delivered as part of implementation. This will need to be supplier specific training by it's nature, as each supplier's system will be different. NHS England has designed training on the paper form which even in digital trusts should be used as a business continuity backup, so this training will be useful for the general principles of PEWS, however trusts will need supplier training to understand each system.
Compliance with the standard
For a trust or a supplier to claim that they are compliant with the National PEWS standard in communications or advertising their solution must meet all of the must requirements in the specifications. A failure to meet any must have requirement will mean that the trust or supplier will not be allowed to claim to be compliant with PEWS.

## Clinical Requirements
General Requirements
ID | Requirement | MOSCOW
C1.1 | The solution must support bidirectional integration with Electronic Patient Records so that the patients details can be pulled into the form, and the form be attached to the record when used. This must ensure entries are only made once. | Must
C1.2 | The solution must include banding for the different levels of each measure of observation. These bandings must score for PEWS and be coloured coded. The colours and scores must be White - 0 Points, Yellow - 1 Point, Orange - 2 Points, Pink - 4 Points. | Must
C1.3 | The solution must allow the banding levels for each observation to change as new guidance is issued by NHSE | Must
C1.4 | The solution must use the higher of two possible bandings if due to an unexpected level of specificity a score would fall between them on the scale outlined as part of configuration | Must
C1.5 | The solution should interface with other hospital communication systems to create wider alerts in an emergency | Should
C1.6 | The solution should allow a clinician to mark the periods when a patient is absent for theatre or scans and highlight this on the form | Should
C1.7 | The solution must be developed in such a way that requirements can be fulfilled and updates implemented as directed by this specification and any updates to it. Suppliers will not be able to use the implementation of other early warning systems (e.g. NEWS, MEWS) as an excuse to deviate from requirements contained in this specification. While suppliers are welcome to develop systems in such a way that permit reuse of assets this must not be at the expense of being able to implement core PEWS features. | Must
C1.8 | The solution wont stop a clinician inputting a single observation into an overarching system (like an EPR). The full set will only be expected when doing a PEWS observation that would then score | Wont
Form Creation and Selection Requirements
ID | Requirement | MOSCOW
C2.1 | The solution must allow a new NPEWS form to be created for a patient | Must
C2.2 | The solution must present the form appropriate for the age of the patient. Where the patient is on the border between two age brackets it must allow the clinician to select the alternate form (but not one further away). | Must
C2.3 | The solution must allow different forms to be configured in the system. While these forms will capture the same data the solution must allow the bands and scoring to be different for each age range. The graphical display should update to show the bandings for that age range. | Must
C2.4 | The solution should prompt a clinician when a patient has moved age brackets to recommend they change to the new form, but also it should allow the clinician to stay on the current form if they wished. It should only offer this prompt once (per age change) not repeatedly. | Should
Viewing and Recording Observations Requirements
ID | Requirement | MOSCOW
C3.1 | The solution must show at least the previous 24 hour's observations, unless there is less then 24 hours recorded then it must show all the observations. This can use scrolling, but may not be implemented by having to load a different non continuous view | Must
C3.2 | The solution should show more than 24 hours observations. The solution should be able to show the previous 96 hours observations on one screen. This can use scrolling, but may not be implemented by having to load a different non continuous view | Should
C3.3 | The solution must show at least 12 observations when they are infrequent enough that there have been less than ten in a 24 hour period. | Must
C3.4 | The solution must allow regular observations to take place and expand to allow as many observations as take place in a rolling 24 hour period. This can use scrolling, but may not be implemented by having to load a different non continuous view | Must
C3.5 | The solution should allow regular observations to take place and expand to allow as many observations as take place is a rolling 96 hour period. This can use scrolling, but may not be implemented by having to load a different non continuous view | Should
C3.6 | The solution must allow a clinician to start observations at whatever time the patient is admitted to the ward | Must
C3.7 | The solution must allow the clinician to record the date time and frequency of observations, the date and time must default to the current date and time | Must
C3.8 | The solution must allow a clinician to record observations up to ten minutes in the past and still incur a PEWS score and escalate appropriately | Must
C3.9 | The solution should when recording observations in the past offer the option of "already escalated" to show times where an escalation has already taken place and observations are being put in afterwards. This option would suppress any implemented automatic alerts | Should
C3.10 | The solution must be able to report on retroactive observations so that trends on when observations are input can be detected | Must
C3.11 | The solution wont interfere with the ability for a wider system (e.g. an EPR) to take one or more observations at whatever time they are input (according to that systems rules). The restriction on time for input only applies to observations that incur a PEWS score. | Wont
C3.12 | The solution must allow a clinician to go back and view older observations or previous forms and admissions for the history of the patient | Must
C3.13 | The solution must make it clear to clinicians that they are viewing older observations to ensure that clinicians are clear what they are observing | Must
C3.14 | The solution should take automated observations from monitoring systems | Should
C3.15 | The solution should take automated observations from wireless monitoring systems | Should
C3.16 | The solution must prompt the user to confirm a value if it is far beyond expected results | Must
C3.17 | The solution must allow a clinician to decline to record an observation and still progress, but must prompt for a reason | Must
C3.18 | The solution must use a codified list of reasons to decline to record an observation. These will vary for each type of observation, but will be set centrally as a part of the SPOT programme | Must
C3.19 | The solution must allow an "Other" option for each codified list of reasons to decline to record an observation. When selecting "Other" the clinician must input free text to explain the reason | Must
C3.20 | The solution must allow a clinician viewing observations to see a reason that the previous observation was declined so that they can see if a pattern is developing | Must
C3.21 | The solution must allow certain reasons to decline an observation to attract scoring contributing to the PEWS score for that measure. E.g. on blood pressure you could score when unable to take blood pressure but it causes concern | Must
C3.22 | The solution must allow exports and reports on observations that have been declined so that analysis can be made. This must include the reason given. This must be reportable by clinician, by clinical setting and by type of observation. | Must
Correcting and Deleting Observations Requirements
ID | Requirement | MOSCOW
C4.1 | The solution must allow a user to correct observations as they are taking them in case of an error. This must have a limited time frame otherwise it will count as previous observations in other requirements. There must still be an audit trail of corrections | Must
C4.2 | The solution must allow a previous observation to be updated to correct errors. The solution must record who made the correction on a previous observation and prompt them for a reason. It must also record a date/time stamp for any changes. The system must indicate that an observation has been changed. | Must
C4.3 | The solution must allow a previous set of observations to be removed to correct errors. The solution must record who made the correction on a previous observation and prompt them for a reason. It must also record a date/time stamp for any changes. | Must
C4.4 | The solution must show the history of any changed or removed observations so that data is not lost. It must also show a date/time stamp for any changes. This must either be on the chart itself or in a reporting function of the system | Must
C4.5 | The solution must offer exports and reports on deleted or edited records so that analysis can be made | Must
Respiratory Rate Requirements
ID | Requirement | MOSCOW
C5.1 | The solution must allow a respiratory rate to be recorded with each set of observations | Must
C5.2 | The solution must capture and show the exact value of respiratory rate, as well as plotting the chart | Must
C5.3 | The solution must allow different respiratory rates to attract different banding for the scoring of PEWS | Must
C5.4 | The solution must allow graphing of respiratory rates between sets of observations so that trends can be seen | Must
Respiratory Distress Requirements
ID | Requirement | MOSCOW
C6.1 | The solution must allow a respiratory distress rating to be recorded with each set of observations | Must
C6.2 | The solution must allow a clinician to select which types of respiratory distress they are observing and then the solution must calculate which level of respiratory distress applies. The list of respiratory distress options will be set centrally by the SPOT programme | Must
C6.3 | The solution must allow guidance on the possible types of respiratory distress to be shown | Must
C6.4 | The solution must allow different types of respiratory distress to attract different banding for the scoring of PEWS | Must
C6.5 | The solution must allow the guidance and banding for types of respiratory distress to be different for different age group form versions | Must
C6.6 | The solution should allow graphing of types of respiratory distress between sets of observations so that trends can be seen | Should
Oxygen Saturation Requirements
ID | Requirement | MOSCOW
C7.1 | The solution must allow oxygen saturation to be recorded with each set of observations | Must
C7.2 | The solution must allow different values of oxygen saturation to attract different banding for the scoring of PEWS | Must
C7.3 | The solution must show the actual numerical value of oxygen saturation on each set of observation | Must
C7.4 | The solution should do graphing between observations of oxygen saturation | Should
Respiratory Support Device Requirements
ID | Requirement | MOSCOW
C8.1 | The solution must allow the capture of the respiratory support device being used if applicable | Must
C8.2 | The solution must be able to score some respiratory support devices higher than others to reflect their impact on PEWS scores | Must
C8.3 | The solution must allow new devices to be set up and scored depending on updated guidance from NHS England | Must
C8.4 | The solution could allow configuration to support research trials for new support devices | Could
C8.5 | The solution must allow a clinician to select which types of respiratory support devices are being used and then link these to the correct scoring automatically | Must
C8.6 | The solution must highlight when a respiratory support device is changed so that this can be easily detected | Must
Oxygen Delivery Requirements
ID | Requirement | MOSCOW
C9.1 | The solution must allow the capture of Oxygen Delivery either as a percentage or as litres per minute. Both options must be available to clinicians to input when making observations, but for each round of observations they will only be able to input one or the other. | Must
C9.2 | The solution must capture and show the exact value of Oxygen Delivery taking place, as well as plotting the chart. When delivering by percentage this must use integers, when delivering by litres per minute this must use up to two decimal places. | Must
C9.3 | The solution must allow a clinician to record room air as an option for Oxygen Delivery | Must
C9.4 | The solution must allow different rates of Oxygen Delivery to attract different banding for the scoring of PEWS | Must
C9.5 | The solution must allow graphing of rates of Oxygen Delivery between sets of observations so that trends can be seen | Must
C9.6 | The solution must create a break between the lines on the graph if the clinician switches between percentage or litres per minute for Oxygen Delivery | Must
C9.7 | The solution must allow the different rates of banding to be set separately for oxygen percentage and oxygen litres per minute so that either method can be used for Oxygen Delivery. This must allow the clinician to switch back and forth between both methods. | Must
C9.8 | The solution should allow the Trust to define whether percentage or litres per minute (or both) are appropriate inputs for each delivery device depending on local conditions | Should
Heart Rate Requirements
ID | Requirement | MOSCOW
C10.1 | The solution must allow heart rate per minute to be recorded with each set of observations | Must
C10.2 | The solution must capture and show the exact value of heart rate recorded (to the nearest integer), as well as plotting the chart | Must
C10.3 | The solution must allow different values of heart rate per minute to attract different banding for the scoring of PEWS | Must
C10.4 | The solution must allow graphing of rates of heart rate per minute between sets of observations so that trends can be seen | Must
Blood Pressure Requirements
ID | Requirement | MOSCOW
C11.1 | The solution must allow a clinician to record the reason not done for the Blood Pressure observation and score them appropriately | Must
C11.2 | The solution must capture and show the exact value of blood pressure recorded, as well as plotting the chart | Must
C11.3 | The solution must allow the clinician to record blood pressure using both systolic and diastolic values | Must
C11.4 | The solution should draw a vertical line between the systolic and diastolic values when both have been input | Must
C11.5 | The solution won't do any graphing between systolic and diastolic values of blood pressure | Wont
C11.6 | The solution must allow different values of blood pressure to attract different banding for the scoring of PEWS. For blood pressure the score must be using the systolic value | Must
C11.7 | The solution must allow the mean blood pressure to be plotted on the chart as well. | Must
C11.8 | The solution should allow graphing of the mean blood pressure to be plotted between observations | Should
C11.9 | The solution could have extra logic to detect very high or very low diastolic values and score them as well. Data gathered from PEWS implementation will allow NHSE to set values that score in future updates. | Could
C11.10 | The solution must allow a clinician to skip the input of diastolic blood pressure while still inputting a systolic value | Must
Capillary Refill Time Requirements
ID | Requirement | MOSCOW
C12.1 | The solution must allow the clinician to record the capillary refill time in seconds when conducting observations | Must
C12.2 | The solution must allow different values of capillary refill time to attract different banding for the scoring of PEWS. | Must
C12.3 | The solution must capture and show the exact value of capillary refill time recorded | Must
Carer Question Requirements
ID | Requirement | MOSCOW
C13.1 | The solution must allow the clinician to record the response to the carer question so that it can be used for triggering an escalation | Must
C13.2 | The solution should allow the clinician to select options around carer questions and automatically calculate if an escalation is needed | Should
C16.3 | The solution must include Worse, Same, Better, Parent/Carer Asleep, Unavailable, and Skip as option for the carer question | Must
C16.4 | The solution could include "Parent/Carer is not sure" as an option for carer question | Could
Disability and Exposure Requirements
ID | Requirement | MOSCOW
C14.1 | The solution must allow the clinician to record the AVPU response to allow for triggering, this must also include "Asleep" as an option | Must
C14.2 | The solution must allow clinicians to record the blood glucose, this must allow numbers and text to cover when devices show "high" or "low" as the result | Must
C14.3 | The solution must allow clinicians to record the pain score | Must
C14.4 | The solution must allow clinicians to record which pain score category or method they used. | Must
C14.5 | The solution must allow the Trust to set a default pain score category or method to save time for clinicians | Must
C14.6 | The solution must allow the clinician to record if they have a suspicion of the patient having a new occurrence of sepsis or septic shock | Must
C14.7 | The solution must allow the clinician to escalate to on a new suspicion of sepsis or escalate on a new suspicion of septic shock. These two conditions will have their own escalation levels under the specific concern section. | Must
C14.8 | The solution must allow you to skip AVPU if you mark that a Glasgow Coma Score Sheet (GCS) is being completed | Must
Temperature Requirements
ID | Requirement | MOSCOW
C15.1 | The solution must allow temperature to be recorded with each set of observations | Must
C15.2 | The solution must capture and show the exact value of temperature to one decimal place, as well as plotting the chart. It must also show whether the reading taken was Axilla, Tympanic or Skin | Must
C15.3 | The solution must allow graphing of rates of temperature between sets of observations so that trends can be seen | Must
C15.4 | The solution must allow the graph to continue even if a clinician switches between different types of temperature measurement. | Must
Clinical Intuition Requirements
ID | Requirement | MOSCOW
C16.1 | The solution must allow the clinician to record their clinical intuition to allow this to be used for triggering. | Must
C16.2 | The solution should allow the clinician to select codified options around clinical intuition and automatically calculate if an escalation is needed | Should
C16.3 | The solution must include Yes, No and Skip as options for Clinical intuition | Must
C16.4 | The solution could include "I'm not sure" as an option for clinical intuition | Could
Scoring and Escalation Requirements
ID | Requirement | MOSCOW
C17.1 | The solution must calculate a PEWS score based on the values filled in on the PEWS observations and display the calculated value on the form. | Must
C17.2 | The solution must allow the escalation trigger criteria to be recorded when the patient is escalated. This must follow a series of short codes. | Must
C17.3 | The solution must facilitate the guidance on the different escalation trigger criteria short codes to be displayed | Must
C17.4 | The solution must allow the clinician to record whether a patient was escalated or whether a plan was already in place | Must
C17.5 | The solution must allow the escalation level (e.g. Low, Medium, High, Emergency) to be recorded when the patient is escalated | Must
C17.6 | The solution must calculate the escalation level based on the PEWS score or the other options, and auto populate this on the form | Must
C17.7 | The solution must capture when various escalation routes are informed. This will be affected by local policy but could include Nurse in Charge (NIC), Medical Response team, Paediatric Intensive Care Unit (PICU), Transport Team to other setting, Other Hospital settings. | Must
C17.8 | The solution should allow the time the medical response team arrived to be recorded when the patient is escalated and a medical response team escalation is part of local policy | Should
C17.9 | The solution must record which clinician entered the observations | Must
C17.10 | The solution must support alerts to be shown to the clinician when triggered by user interface interactions | Must
C17.11 | The solution must score the higher of the two measures for Oxygen Delivery, namely Oxygen Delivery rate and Respiratory Support Device. Some devices will score towards the PEWS score, when they do although the level of support is recorded the score for oxygen level will be ignored. When the device doesn't score then the score for the level of support is used. In either situation both observations should be recorded. | Must
Comments Requirements
ID | Requirement | MOSCOW
C18.1 | The solution should allow the clinician to add comments when completing observations | Should
C18.2 | The solution should allow access to comments on observations when reviewing the chart | Should
Alarms Parameters and Risks Requirements
ID | Requirement | MOSCOW
C19.1 | The solution could allow the capture of alarm limits directly from digital monitors. | Could
C19.2 | The solution should allow the clinician to record any additional risk factors. This should allow the clinician to tick one or more options that apply and add comments to it. The default position should be "Not Applicable". | Should
C19.3 | The solution should allow the clinician to record what the patient's normal value is for each of the life signs. At this stage these should not affect PEWS scoring. | Should
C19.4 | The solution wont change the PEWS scoring based on additional risk factors or patient normal levels | Wont
C19.5 | The solution could auto populate risk factors based on other EPR data where available. | Could
Guidance Requirements
ID | Requirement | MOSCOW
C20.1 | The supplier must be able to implement updated guidance as regularly issued by NHS England | Must
C20.2 | The solution wont allow the local users or Trust to amend the guidance on escalations. This will be set centrally by NHS England | Wont
C20.3 | The solution must display guidance on the various PEWS escalation steps to the clinician so they can see which applies and use this to inform decision making. | Must
C20.4 | The solution must show additional decision support guidance on the form relevant to clinical care | Must
C20.5 | The solution must allow the additional decision support guidance to be updated based on new guidance from NHSE | Must

## Technical Requirements
Commercial Requirements
ID | Requirement | MOSCOW
T1.1 | The supplier must be able to meet regular updates to the PEWS banding and scoring. These will happen no more frequently than every six months, and must be implemented by the supplier within a three month window | Must
T1.2 | The supplier must either be able to include updates to the PEWS forms without additional charges Or the supplier must outline the expected costs associated with updates to the PEWS forms | Must
T1.3 | The supplier must either be able to include updates to the Guidance without additional charges Or the supplier must outline the expected costs associated with updates to the Guidance | Must
T1.4 | The supplier must either be able to include updates to the APIs without additional charges Or the supplier must outline the expected costs associated with updates to the APIs | Must
T1.5 | The supplier must either be able to include emergency updates to the PEWS forms outside of the six monthly cycle without additional charges Or the supplier must outline the expected costs associated with emergency updates to the PEWS forms outside of the six monthly cycle | Must
T1.6 | The supplier must confirm that if the proposed solution requires changes to third party software, the supplier shall be responsible for the ordering, payment, acceptance and delivery of such work | Must
T1.7 | The supplier must either be able to include appropriate levels of staff training without additional charges Or the supplier must outline the expected costs associated with appropriate levels of staff training | Must
T1.8 | The supplier must either be able to include technical support without additional charges Or the supplier must outline the expected costs associated with technical support | Must
T1.9 | The supplier must explain if any feature in this specification is not included as standard and would incur additional costs. This must happen before the contract has begun. | Must
Cyber Security Requirements
ID | Requirement | MOSCOW
T2.1 | The supplier must confirm that data in transit (including HL7 or similar messages) are encrypted and the server does not allow the use of outdated security protocols or ciphers. For example this means using TLS rather than SSLv3 and below. | Must
T2.2 | The solution should have undergone a penetration test by an accredited 3rd party. Evidence of this will be provided to the Trust. This will be followed by a penetration test pre go live and annually thereafter. Please provide documentation to show the application has been Penetration Tested. This should include a report and a plan to mitigate risks. | Should
T2.3 | The supplier should respond to any CareCert alerts sent by NHS Digital within the required timeframe | Should
Data Quality Requirements
ID | Requirement | MOSCOW
T3.1 | The solution must be kept up to date with all mandatory information standard notice and standards issued by NHS Digital, NHSE or other central statutory authorities at no additional costs. | Must
T3.2 | The solution should prompt a user to save any unsaved work or auto-save at defined points | Should
Environment Requirements
ID | Requirement | MOSCOW
T4.1 | The supplier must supply training on the PEWS system for the clinicial teams. The minimum standard for this must be train the trainer type training, though suppliers are encouraged to go beyond this where practical | Must
T4.2 | The supplier must supply a training environment so that training can be conducted without risk to patient data | Must
T4.3 | The supplier must equip the training environment with training patient data so that training can take place in the same way it would on real patients | Must
T4.4 | The supplier must ensure that the training environment is kept up to date so that it is in line with the live environment. A change could be deployed to training first to allow training on an update, but the training environment must not be behind the live environment | Must
T4.5 | The training environment could have the ability to roll back / refresh and Date Roll Forward functionality so that training sessions can be set up and repeated easily. | Could
T4.6 | The solution must work within a restricted user environment and must not require the use of admin or power user permissions | Must
T4.7 | The solution should be made compatible with future releases of modern Operating Systems and Internet Browsers. | Should
T4.8 | The supplier should provide training materials to accompany upgrades. Downtime should be planned with the trust for least disruption. If any additional services are expected to be associated with an upgrade the trust should be made aware of these costs before the upgrade is scheduled. | Should
T4.9 | The supplier should adopt a training approach that will enable the trust's users to be trained to a level where they can use the solution in the appropriate capacities without unexpected supervision or support. The supplier should outline its approach to training as part of the submission | Must
T4.10 | The supplier must provide a help desk service staffed by technicians capable of dealing with all aspects of the supplied solution, excluding hardware and software that is provided by the Trust. The role of the supplier service desk will be to rectify faults and provide support with issues at a minimum. The supplier must provide the Trust with a documented Service support model, identifying the main procedures, including the procedures for passing calls on to other relevant parties. The supplier must supply information on the opening times of the helpdesk and if applicable any out of hours support cover. | Must
T4.11 | The solution must support access from both desktop and mobile platforms. | Must
T4.12 | The solution must support use from users with colour blindness. | Must
Governance Requirements
ID | Requirement | MOSCOW
T5.1 | The supplier must comply with any recommendations, legislation or national standards as described in the following: ~ General Data Protection Regulations (GDPR) ~ Caldicott Guidelines ~ HSCN Connection Agreement ~ Data Security & Protection Toolkit (DSPT) ~ Information Standard Notices as published by NHS Digital The supplier must confirm whether they are registered with the ICO under GDPR/DPA18. The supplier must ensure that their staff are adequately trained on their responsibilities under these regulations. | Must
T5.2 | The supplier must ensure adequate security controls are in place and that they fully are compliant with General Data Protection Regulations (GDPR) if Trust data is stored with a 3rd party (i.e. cloud service) | Must
T5.3 | The solution must ensure that data accessed on a mobile device is held securely, adhering to the Information Security Management: NHS Code of Practice | Must
T5.4 | The solution must only host data within the UK, the European Economic Area (EEA), a country deemed adequate by the European Commission, or in the US where covered by Privacy Shield. (https://digital.nhs.uk/data-and-information/looking-after-information/data-security-and-information-governance/nhs-and-social-care-data-off-shoring-and-the-use-of-public-cloud-services) | Must
T5.5 | The supplier should confirm that certification to ISO 9001 has been achieved and has been accredited towards ISO 27001 international security management standards for all its business operations with the system complying with all NHS security requirements. | Should
T5.6 | Data must be retained as set out in the Records Management Code of Practice for Health and Social Care (2016) . Those responsible for storing records must also ensure that disposal takes place in accordance with current retention schedules, and that disposals occur promptly and consistently. Regular disposal of records (including electronic records) in accordance with the retention schedule is vital to ensure that information is not retained for longer than is necessary for the purpose for which it was recorded to comply with Data Protection requirements. These guidelines apply to NHS records, including records of NHS patients treated on behalf of the NHS in the private healthcare sector and public health records, regardless of the media on which they are held. This includes records of staff, complaints, corporate records and any other records held in any format including both paper and digital records. The guidelines also apply to Adult Social Care records where these are integrated with NHS patient records. The solution must be able to process a right to be forgotten where this would legally apply under the GDPR | Must
T5.7 | The Supplier must confirm that the proposed system allows for the implementation of the NHS Digital National Opt Out. | Must
T5.8 | The solution must be certified as a medical device (ISO134852016) and legally registered with the MHRA to allow it offer guidance based on the observations and PEWS Scores. | Must
Interoperability Requirements
ID | Requirement | MOSCOW
T6.1 | The solution must be able to share data with other hospitals and trusts systems, regardless of EPR supplier. This must ensure that if a patient is transferred their PEWS observations can be transmitted with the rest of the record. As well as automatic data sharing this must cover printing out records in an appropriate format for systems that aren't compatible or situations like court cases. This must mimic the PEWS paper form as closely as possible. | Must
T6.2 | The solution must be able to share data with other care settings within the trust and with other trusts. This must include but is not limited to Primary Care settings and Ambulance Services | Must
T6.3 | The solution should be able to share data with other NHS services that may take or need to view observations (e.g. NHS 111) | Should
T6.4 | The solution must be able to share statistical data back to NHSE or another nominated body so that analysis of PEWS can take place. | Must
T6.5 | The solution must be able to share data with other systems using a RESTful API. The supplier must be able to share at a minimum all observations captured during the PEWS process whether they inform the PEWS score or not and identifying patient information. | Must
T6.6 | The supplier must be able to respond to a future API specification being issued by NHS England for data sharing and ensure that their solution is compatible with this. | Must
T6.7 | The solution must be able to export PEWS data to PDF to support legal proceedings or case review boards. | Must
Reliability Requirements
ID | Requirement | MOSCOW
T7.1 | The solution must be able to recover from major outages following a disaster recovery plan. The supplier must outline their approach to disaster recovery to cover a range of predicted types of outages. The priority must be to ensure that data is not lost while an outage is happening. | Must
T7.2 | The supplier must measure the availability of the Service; it must be measured against a target to be agreed during contracting and will provide the results of such monitoring to the Trust via a mutually agreed time and format. The supplier must outline what monitoring systems they have for the solution and how they can be shared with the trust. | Must